WISE HEAT PUMP REBATE PROGRAM

**CONTRACTOR AGREEMENT FORM FOR HEAT PUMPS**

All heat pumps for which rebates are requested from the City will be installed so that they meet the following conditions of the WISE Heat Pump Rebate Program:

1. \_\_\_ Prior to removal, the data plate information from the old unit will be recorded on the rebate form or photos will be attached to the rebate form. The information will include brand, model number, and serial number.

2. \_\_\_ Installation or modification of air distribution systems will be completed according to

recommended industry standards.

3. \_\_\_ Heat-loss and heat-gain calculations for sizing of equipment in accordance with

accepted industry methods will be done while abiding by applicable codes on installation of air conditioners and/or heat pump systems.

4. \_\_\_ Dual-fuel heat pump systems will be installed in accordance with the following

rebate conditions:

A. Setpoint of outdoor thermostats will not exceed 40° Fahrenheit.

B. Whenever outdoor temperatures exceed 40° Fahrenheit, the auxiliary heat

source will only operate when the indoor thermostat is manually set on the emergency heat mode.

Contractor Signature: Date:

Company Name:

Company Address:

Telephone Number:

This form is available on the OMPA website at [www.ompa.com](http://www.ompa.com/) under the Programs link.

OMPA WISE Rebate Program; March 2009 Rebate Program (2009) / mb